# GAA Steelwork Safety Inspection Checklist

Ensure all steelwork, nuts, and bolts are securely tightened to prevent hazards.

# Date of Inspection:

# Inspection Areas:

| Item | Condition | Action Required | Inspector Signature |
| --- | --- | --- | --- |
| Floodlights |  |  |  |
| Ball Stop Nets |  |  |  |
| Gates |  |  |  |
| Fences |  |  |  |
| Spectator Barriers |  |  |  |
| Goalposts |  |  |  |
| Scoreboards |  |  |  |
| Other Steel Structures |  |  |  |
| Comments |  |  |  |

Notes:

- Inspect all nuts, bolts, and joints for tightness. Pay special attention to areas exposed to wind or heavy use.

- Ensure all nuts are torqued in accordance with manufacturers specifications.

- When torquing nuts ensure you know the (Nm) value, ensure the tool used is calibrated in accordance with national standards.

- Inspection to be completed annually, and after major weather events or any repair or upgrade work.